## Sheet1
Medicines Safety Alerts Checklist June 2025 and July 2025. For GP practices in Surrey Heartlands ICB
Practices need to ensure they monitor patient safety updates and alerts and act upon these in a timely manner. Each practice should have a system in place to ensure that they are receiving, disseminating and acting upon all alerts and information relevant to general practice. Sources of patient safety information include Medicines and Healthcare products Regulatory Agency (MHRA) alerts, Central Alerting System (CAS) alerts, local or national clinical guidance, and national and local formularies.
CQC guidance on Patient Safety Alerts
Registration of GP practices with the Central Alerting System:
All GP practices in England should have registered to receive CAS alerts directly by 01 October 2019
The Medicines Safety Alerts Checklist summarises CAS alerts and MHRA Drug Safety Update (DSU) items about medicines and medical devices of relevance to primary care. Healthcare professionals are advised to continue to monitor safety information from other sources since this is not an exhaustive list of every current safety concern in the UK.
MHRA Central Alerting System (CAS)
MHRA Drug Safety Update (DSU) Newsletter
This checklist is a resource to assist practices in looking back over a 2 month period and checking that nothing has been overlooked. Since it is issued every 2 months, it is not a substitute for the ongoing monitoring of alerts and acting on these in a timely manner. The checklist will be published with Medicines Safety Matters every 2 months.
It is supplied as an Excel spreadsheet which practices may, if they wish, adapt and annotate with any actions taken thus providing an audit trail.
Recording ‘not applicable’ will be appropriate for some of the items of less relevance to primary care (such as medicines or medical devices for specialist use or issues relating to different care settings) and provides evidence that these have been considered. CAS alerts not intended for cascade to primary care have been excluded.
This checklist includes alerts and information highlighted in June 2025 and July 2025
Date | Drug Safety Update | Letters sent to Healthcare Professionals | Drug Alerts and Recalls | Medical Device Alerts | Supply Chain Disruption | Central Alerting System | Drug or Medical Device | Issue | Hyperlink to information
2nd June 2025 |  |  | a |  |  |  | Class 4 Medicines Notification, Zentiva Pharma UK Limited, Various Products, EL(25)A/24. Medical speciality: Dispensing GP practice and Pharmacy. | Zentiva Pharma UK Limited has informed the MHRA of an issue related to batches of various soluble or effervescent tablets. | Class 4 Medicines Notification, Zentiva Pharma UK Limited, Various Products, EL(25)A/24 - GOV.UK
3rd June 2025 |  |  |  | a |  |  | Field Safety Notices: 26 to 30 May 2025 |  | Field Safety Notices: 26 to 30 May 2025 - GOV.UK
6th June |  |  |  | a |  |  | Field Safety Notices: 19 to 23 May 2025 |  | Field Safety Notices: 19 to 23 May 2025 - GOV.UK
9th June 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Paracetamol 500mg Tablets, Chelonia Healthcare Limited, EL(25)A/25. Medical speciality: Dispensing GP Practice and Pharmacy | Chelonia Healthcare Limited is recalling specific batches of Paracetamol 500mg Tablets (100 pots) as a precautionary measure due to contamination following a small number of complaints of discoloured tablets within the pots. | Class 2 Medicines Recall: Paracetamol 500mg Tablets, Chelonia Healthcare Limited, EL(25)A/25 - GOV.UK
10th June 2025 |  |  |  | a |  |  | Field Safety Notices: 2 to 6 June 2025 |  | Field Safety Notices: 2 to 6 June 2025 - GOV.UK
10th June 2025 |  |  | a |  |  |  | Class 4 Medicines Defect Notification: Dulcolax Adult 5 mg Gastro-resistant Tablets, Opella Healthcare UK, EL(25)A/26. Medical speciality: Dispensing GP Practice and Pharmacy | Opella Healthcare UK LTD has informed the MHRA that there is an error on the artwork for the outer carton of Dulcolax Adult 5mg GR Tablets (packsize 20 count). The dose instruction incorrectly states for use in 12 years and older. These general sale packs are intended for use only in adult patients (18 years and over). | Class 4 Medicines Defect Notification: Dulcolax Adult 5 mg Gastro-resistant Tablets, Opella Healthcare UK, EL(25)A/26 - GOV.UK
12th June 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Inhixa 12,000IU (120mg)/0.8mL solution for injection, Maxearn Limited, EL(25)A/27. Medical speciality: Dispensing GP Practice and Pharmacy | Maxearn Limited have informed the MHRA that the carton used to package two imported batches of Inhixa have been released to the market with a typographical error on one side of the carton. | Class 2 Medicines Recall: Inhixa 12,000IU (120mg)/0.8mL solution for injection, Maxearn Limited, EL(25)A/27 - GOV.UK
13th June 2025 | a | [5 empty] | MHRA Safety Roundup: May 2025 | Summary of the latest safety advice for medicines and medical device users | MHRA Safety Roundup: May 2025 - GOV.UK
17th June 2025 |  |  |  | a |  |  | Field Safety Notices: 9 to 13 June 2025 |  | Field Safety Notices: 9 to 13 June 2025 - GOV.UK
24th June 2025 | a | [5 empty] | MHRA Safety Roundup: June 2025 | Summary of the latest safety advice for medicines and medical device users | MHRA Safety Roundup: June 2025 - GOV.UK
24th June 2025 |  |  |  | a |  |  | Field Safety Notices: 16 to 20 June 2025 |  | Field Safety Notices: 16 to 20 June 2025 - GOV.UK
25th June 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Depo-Medrone 80 mg in 2 mL, Maxearn Limited EL(25)A/29. Medical speciality: Dispensing GP Practice and Pharmacy | A batch of Depo-Medrone has been released to the market with an error. The vial over label incorrectly states that the total vial content is 40 mg in 1 mL, when the correct total vial content is 80mg in 2 mL (with a concentration of 40mg/ml of methylprednisolone acetate). | Class 2 Medicines Recall: Depo-Medrone 80 mg in 2 mL, Maxearn Limited EL(25)A/29 - GOV.UK
26th June 2025 | [5 empty] | a | Potential contamination of non-sterile alcohol-free skin cleansing wipes with Burkholderia spp: measures to reduce patient risk | UKHSA is investigating an outbreak of Burkholderia stabilis involving individuals across the UK, linked to wipes. Following testing, Burkholderia spp (full identification pending) has been recovered from several non-sterile alcohol-free skin cleansing wipes, including those used for wound care and included in first aid kits. This National Patient Safety Alert provides further background, clinical information and actions for providers. | CAS-ViewAlert
30th June2025 |  |  | a |  |  |  | Class 3 Medicines Recall: Omeprazole 20 mg/15 ml Oral Solution, Glenmark Pharmaceuticals Europe Ltd, EL(25)A/30. Medical speciality: Dspesning GP practice, GP practice and Pharmacy. | Glenmark Pharmaceuticals Europe Ltd is recalling a specific batch of Omeprazole Oral Solution as a precautionary measure due to an investigation following a customer complaint indicating precipitation and discoloration of the product in the bottles. | Class 3 Medicines Recall: Omeprazole 20 mg/15 ml Oral Solution, Glenmark Pharmaceuticals Europe Ltd, EL(25)A/30 - GOV.UK
30th June 2025 |  |  | a |  |  |  | Class 3 Medicines Recall: Tamoxifen 20mg Film-Coated Tablets, Wockhardt UK Ltd, EL(25)A/31. Medical speciality: Dispensing GP Practice and Pharmacy | Wockhardt UK Limited is recalling a batch as a precautionary measure following the identification of a dissolution failure during stability testing. | Class 3 Medicines Recall: Tamoxifen 20mg Film-Coated Tablets, Wockhardt UK Ltd, EL(25)A/31 - GOV.UK
1st July 2025 |  |  | a |  |  |  | Class 4 Medicines Defect Notification: Erythromycin Stearate BP 250mg Tablets, Amdipharm UK Ltd, EL(25)A/32. Medical speciality: Dispensing GP Practice and Pharmacy | Amdipharm UK Ltd has informed MHRA that the Patient information leaflet (PIL) in the cartons for the batch listed in this notification includes a superseded PIL. | Class 4 Medicines Defect Notification: Erythromycin Stearate BP 250mg Tablets, Amdipharm UK Ltd, EL(25)A/32 - GOV.UK
2nd July 2025 |  |  |  | a |  |  | Field Safety Notices: 23 to 27 June 2025 |  | Field Safety Notices: 23 to 27 June 2025 - GOV.UK
3rd July 2025 |  |  | a |  |  |  | Class 4 Medicines Defect Notification: Simvastatin 10mg Tablet, Crescent Pharma Ltd, EL(25)A/33. Medical speciality: Dispensing GP Practice and Pharmacy | Crescent Pharma Limited has informed the MHRA of an error with the European Article Number (EAN) barcode on the cartons of a batch of simvastatin 10 mg Tablets distributed by Alliance Healthcare UK. | Class 4 Medicines Defect Notification: Simvastatin 10mg Tablet, Crescent Pharma Ltd, EL(25)A/33 - GOV.UK
3rd July 2025 | [5 empty] | a | Shortage of bumetanide 1mg tablets | *****Update: 11/07/2025: Bumetanide 1mg tablets are in limited supply until late July 2025*** Bumetanide 1mg tablets are out of stock until mid-August 2025. The supply disruption is caused by a combination of manufacturing issues and a resulting increase in demand to other suppliers. Bumetanide 1mg/5ml oral solution and bumetanide 5mg tablets remain available, however cannot support any increase in demand. Furosemide 20mg and 40mg tablets remain available and can support increased demand.This National Patient Safety Alert provides further background, clinical information and actions for providers. | CAS-ViewAlert
7th July 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Zaditen 0.25 mg/ml, eye drops, solution, Laboratoires Théa EL(25)A/34. Medical speciality: Dispensing GP Practice and Pharmacy | Laboratoires Théa trading as Thea Pharmaceuticals Limited have notified the MHRA of an out of specification event related to environmental monitoring during manufacturing, which may increase the risk of microbial contamination of the medicinal product. | Class 2 Medicines Recall: Zaditen 0.25 mg/ml, eye drops, solution, Laboratoires Théa EL(25)A/34 - GOV.UK
7th July 2025 | a | [5 empty] | Abrysvo▼ (Pfizer RSV vaccine) and Arexvy▼ (GSK RSV vaccine): be alert to a small risk of Guillain-Barré syndrome following vaccination in older adults | There is a small increase in the risk of Guillain-Barré syndrome following vaccination with Abrysvo (Pfizer respiratory syncytial virus (RSV) vaccine) and Arexvy (GSK RSV vaccine) in adults aged 60 years and older. Healthcare professionals should advise all recipients of Abrysvo and Arexvy that they should be alert to signs and symptoms of Guillain-Barré syndrome and, if they occur, to seek immediate medical attention as it requires urgent treatment in hospital. | Abrysvo▼ (Pfizer RSV vaccine) and Arexvy▼ (GSK RSV vaccine): be alert to a small risk of Guillain-Barré syndrome following vaccination in older adults - GOV.UK
7th July 2025 | [5 empty] | a | Update from the CAS Helpdesk: National Supply Disruption Response (NSDR) now accredited to issue National Patient Safety Alerts | The National Supply Disruption Response (NSDR) is the single point of contact for the UK’s health and care system and medical supply industry in the event of medical supply disruption that may require national support to help mitigate the impact on patients and/or service delivery. Mitigations can include coordination of mutual aid, work to identify alternative products, alternative clinical practices, regulatory easements, and/or use of the Express Freight Service (EFS). The NSDR have received accreditation to issue National Patient Safety Alerts which we will issue through the CAS website in the usual way. | CAS-ViewAlert
8th July 2025 |  |  |  | a |  |  | Field Safety Notices: 30 June to 4 July 2025 |  | Field Safety Notices: 30 June to 4 July 2025 - GOV.UK
15th July 2025 |  |  |  | a |  |  | Field Safety Notices: 7 to 11 July 2025 |  | Field Safety Notices: 7 to 11 July 2025 - GOV.UK
22nd July 2025 |  |  |  | a |  |  | Field Safety Notices: 14 to 18 July 2025 |  | Field Safety Notices: 14 to 18 July 2025 - GOV.UK
22nd July 2025 |  |  | a |  |  |  | Trinity Biotech Premier Hb9210™ HbA1c Analyser: Risk of Positive Bias and Updates to Instructions for Use (IFU), including use as a diagnostic aid in diabetes mellitus (DSI/2025/003). Medical speciality: Various organisations including General Practice. | he MHRA has received reports describing a positive bias in HbA1c results delivered by the Trinity Biotech Premier Hb9210 HbA1c analyser, which has resulted in patients being incorrectly diagnosed as pre-diabetic or diabetic. | Trinity Biotech Premier Hb9210™ HbA1c Analyser: Risk of Positive Bias and Updates to Instructions for Use (IFU), including use as a diagnostic aid in diabetes mellitus (DSI/2025/003) - GOV.UK
24th July 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: Flutiform 250 micrograms / 10 micrograms per actuation pressurised inhalation, suspension , CD Pharma Ltd, EL(25)A/35. Medical speciality: Dispensig GP practice and Pharmacy. | CD Pharma Ltd have notified the MHRA of an error on the outer carton of the product for the batches listed in this notification. While the total active content statement is correct, the delivered dose content statement is incorrect. The other details on the carton are correct. | Class 2 Medicines Recall: Flutiform 250 micrograms / 10 micrograms per actuation pressurised inhalation, suspension , CD Pharma Ltd, EL(25)A/35 - GOV.UK
28th July 2025 |  |  | a |  |  |  | Class 2 Medicines Recall: ChloraPrep 1mL Clear Sterile Solution/Applicator, Becton Dickinson UK Ltd, EL(25)A/36. Medical speciality: Various including GP practice and dispensing GP practice | Becton Dickinson UK Ltd has informed the MHRA that some units exhibit an open seal on the packaging of the applicator. This is linked to the Class 2 Medicines Notification EL(25)A/22. This defect could increase the risk of the applicator device being contaminated with pathogens. | Class 2 Medicines Recall: ChloraPrep 1mL Clear Sterile Solution/Applicator, Becton Dickinson UK Ltd, EL(25)A/36 - GOV.UK
29th July 2025 | [5 empty] | a | Shortage of Antimicrobial Agents Used in Tuberculosis (TB) Treatment | The following antimicrobial medicines used to treat tuberculosis (TB) will be intermittently available until at least the end of 2025: Rifampicin 150mg and 300mg capsules Rifampicin 600mg IV solution for infusion Rifampicin 100mg/5ml oral suspension Rifinah® 300 tablets (rifampicin 300mg / isoniazid 150mg) Rifater® tablets (rifampicin 120mg / isoniazid 50mg/ pyrazinamide 300mg) Voractiv® tablets (rifampicin 150mg/ isoniazid 75mg / pyrazinamide 400mg / ethambutol 275mg) Pyrazinamide 500mg tablets Ethambutol tablets, Isoniazid tablets, and Rifinah® 150 tablets (rifampicin 150 mg / isoniazid 100 mg) and Mycobutin® (rifabutin) 150mg capsules remain available but cannot support a full increase in demand.This National Patient Safety Alert provides further background, clinical information and actions for providers. | CAS-ViewAlert
30th July 2025 |  |  |  | a |  |  | Field Safety Notices: 21 to 25 July 2025 |  | Field Safety Notices: 21 to 25 July 2025 - GOV.UK
31st July 2025 |  |  | a |  |  |  | Class 4 Medicines Defect Notification: Olmesartan medoxomil 10mg film-coated tablets, Jubilant Pharmaceuticals NV, EL(25)A/37. Medical speciality: Dispensing GP practice and Pharmacy. | Jubilant Pharmaceuticals NV has informed the MHRA that the Patient Information leaflet (PIL) in the cartons for the batches listed in this notification include an outdated PIL. | Class 4 Medicines Defect Notification: Olmesartan medoxomil 10mg film-coated tablets, Jubilant Pharmaceuticals NV, EL(25)A/37 - GOV.UK
31st July 2025 | a | [5 empty] | MHRA Safety Roundup: July 2025 | Summary of the latest safety advice for medicines and medical device users | MHRA Safety Roundup: July 2025 - GOV.UK